## Slide 1
Aiware for Xcellis Hardware

## Slide 2: aiWARE for Xcellis Hardware
Standard product option.
  Uses the standard Xcellis R630 1U with minor modifications.
  Memory is increased to 128G.
  6 each 2TB drives are added in a raid 5 config.
  2 each 1TB drives continue to be used for OS boot and logging.
High Performance product option.
  Based on the Xcellis R630 1U server
  Memory is increased to 384 G.
  Uses a two 22 core E6-2699 V4 processors.
  6 each 2TB drives are added in a raid 5 config.
  2 each 1TB drives continue to be used for OS boot and logging.
Both product options use two PCIe cards
  Slot 1 empty.
  Slot 2 contains a dual port 10GbE SFP NIC
  Slot 3 contains a dual port 16G FC HBA
No external storage is required.