## Slide 1
Bob O’Brien
service plan
aiWARE for Xcellis (Veritone Reseller)

## Slide 2: Service Overview
Support Summary
  Case Management: GSC
  HW Technical Support: SPS
  StorNext SW Technical Support: SPS
  Veritone SW Technical Support: Veritone
  Field Support: Quantum TPM/TAM/QFE
  Escalation Support: StorNext SUS
  Installation: TAM/QFE, PS
  Warranty: 1 yr Bronze
  Support Uplifts: NBD Gold, Gold
  Veritone Support: Included in aiWARE Connection Subscription

## Slide 3: Support Overview (cont.)
Quantum is responsible for support of the aiWARE for Xcellis appliance hardware and all Quantum software (StorNext platform SW, StorNext client, StorNext environment, etc.)
Veritone is responsible for support of the aiWARE connector SW and all Veritone Cloud Services
  This is included with the aiWARE Connection Subscription, renewed annually
  Quantum will keep a “shadow” contract to this to notify Quantum for renewals
Quantum appliance S/N will be used to open all support cases, both for Quantum and Veritone
A flash will be added to each aiWARE for Xcellis instance in the IB to notify the Service team that this is a Veritone solution

## Slide 4: Service Overview (cont.)
Quantum will take calls for the Quantum appliance hardware and any Quantum software
  Calls coming into Quantum for Veritone software-related issues will be re-directed to Veritone support (see below for re-direct info provided to customer)
  If Veritone receives a call that should have gone to Quantum, they will re-direct customer to Quantum support
Veritone will take calls for the aiWARE software and Veritone Cloud services
  If Quantum opens a support case and determines that the issue is Veritone-related, the customer will be re-directed to Veritone support and Quantum will close the support case.
  Customer will be notified re: the information required to engage with Veritone support:
    Veritone E-mail and phone # (see next slide)
    Quantum serial number
    Pertinent log files
      Located in /home/aiware/log/
      4 files, key ones that Veritone will need are the syslog and agent.log files

## Slide 5: Support Overview (cont.)
Veritone Support Contacts (for customers or troubleshooting support):
  Email: aiwaresupport@veritone.com (or aiware-support@veritone.com)
  Phone: 1-844-884-0169
  Regular business hours for routine issues: 8AM to 6PM Pacific
    24/7 for emergencies (same e-mail and phone #)
Veritone Escalation Contacts (for Quantum support):
  Engineering: aiware@veritone.com
  Management:
    Anna Mikhailova
    VP, Customer Success
    1-909-647-7929 mobile
    amikhailova@veritone.com
Veritone is based in Costa Mesa, CA USA
  Pacific Time business hours support

## Slide 6: Service Overview (cont.)
Installation
  aiWARE for Xcellis Embedded (DAE):
    aiWARE software is embedded in StorNext 6.0.1 and later platform code for XWD, no further SW install needed
    Customer accesses new Service Menu for aiWARE
      Starts Veritone Services (required for aiWARE for Xcellis Embedded only)
      Starts Veritone Agent
      Collects UUID
      Customer registers with Veritone
      Customer goes to Veritone Cloud and adds aiWARE for Xcellis UUID to Cluster
  aiWARE for Xcellis Standard, High Performance Appliances:
    TAM/QFE will rack & stack aiWARE for Xcellis appliance (follow standard XWE install process)
    PS will configure StorNext SW, enable aiWARE
      Starts Veritone Agent
      Collects UUID
      Customer registers with Veritone
      Customer goes to Veritone Cloud and adds aiWARE for Xcellis UUID to Cluster

## Slide 7: Service Overview (cont.)
Support Tools
  aiWARE for Xcellis Standard, High Performance support standard XWE RAS functionality
    aiWARE for Xcellis Embedded (DAE) uses XWD RAS tickets
  Veritone Support Logs
    Located in /home/aiware/log/
    4 files, key ones are the syslog and agent.log files
    Can be used to check if Veritone agent is running, connectivity issues, etc.
Spares
  All replacement parts are Dell-sourced so will be sourced from Dell parts depots
FRU List
  Use the Xcellis FRU list (6-68340-01)
    Use the “Xcellis Workflow Director” column for aiWARE for Xcellis Embedded (DAE)
    New columns (added in Rev L) for aiWARE for Xcellis Standard, High Performance
      Note that 2TB drives are used in these products

## Slide 8: Service Overview (cont.)
TLA Structure
  3 (actually 4) PNs for each version (Embedded, Standard, High Performance)
    9- level aiWARE for Xcellis CTLA
    9- level aiWARE Connection Subscription (includes Veritone Support)
      7- level Quantum subscription (0$ to track aiWARE Connection Subscription for renewals)
    7- level Quantum Support Contract (for aiWARE for Xcellis HW, StorNext SW)
Customer will be separately billed monthly by Veritone for usage