## Slide 1: Quantum Lattus
Lattus Daily Phone-Home-Email Handling

## Slide 2: The Basics – Lattus Daily Phone-Home-Email SRs
Current (thru 3.5.x) Lattus Software Events include –
  Application
  Agent – Reporting node (MAC address)
  Severity
  Occurrences – How many occurrences within the reporting time period
  First occurrence
  Last occurrence
  Message – Details of the issue
Ex.

## Slide 3: The Basics – Lattus Daily Phone-Home-Email SRs
Lattus 3.6 will also include –
  Software Version
  Overall System Health
    Controller/Storage Nodes
      Offline, Decommissioned, Total Count
    Disks
      Degraded, Decommissioning, Decommissioned, Total Count
    Metastores
      Allocation Type, Degraded, Overall Status
    Storage Pool
      Worst Case Overall Disk Safety Level, Used Capacity, Total Capacity

## Slide 4: The Basics – Lattus Daily Phone-Home-Email SRs
Ex.

## Slide 5: The Basics – The Process
Found on Munich > Product Information > Lattus

## Slide 6: The Basics – The Process
Daily phone-home-email arrives in Techsup inbox
GSC/CDS creates SR and assigns to SW Tech Support queue
  No contact with customer to see if immediate support is needed or to request logs
Next available SPS Eng takes SR
  once it moves to the top of the queue
SPS Eng reviews the phone-home-email
This is where the fun begins…

## Slide 7: The Basics – The Process (cont)
“Does the e-mail contain any event(s) that need further activity?”
  Determine using your own parsing method, but the following must be done:
    Weed out repeating events
    Combine the number of occurrences of each event to determine the level of repetition
    Look through the SR history for that serial number (via the Service History tab in Oracle) to see if there are any open SRs for the events
    Look through the SR history for any close SRs for those events to see if:
      the customer is aware of the issue
      the issue has already been addressed
    Note any “new” issues

## Slide 8: The Basics – The Process (cont)
IF –
  No further activity from Quantum needed that day
    In Phone-Home SR, SPS Eng fills out the Actual Effort field on the SW Tech Support task
    SPS Eng closes phone-home-email SR with ProbCode “EVENT EMAIL”, RootCauseCat “Event Email Generated”
    Expectation – daily handling of phone-home-email SR - ~15 min
  New issue found
    SPS Eng has GSC/CDS create new SR for EACH issue
    SR is to be assigned to the requesting SPS Eng
      Since the new issue(s) is/are already being worked, the SLA clock start/stop is not necessary; thus, the CallCust task should be cancelled per direct assignment to the requesting SPS Eng.
    If additional SRs were created and/or recurrences of open SR issues are encountered, the SPS Eng enters a list with SR #’s and Problem Summaries into the phone-home-email SR.
    In Phone-Home SR, SPS Eng fills out the Actual Effort field on the SW Tech Support task
    SPS Eng closes phone-home-email SR with ProbCode “EVENT EMAIL”, RootCauseCat “Event Email Generated”
    Expectation – daily handling of phone-home-email SR - ~15 min

## Slide 9: Demo

## Slide 10
THANK YOU
© 2013 Quantum Corporation. Forward-looking information is based upon multiple assumptions and uncertainties, does not necessarily represent the company’s outlook and is for planning purposes only.